Guidance Note on the UK safety requirements for Customer Use Baggage Check Weighing Instruments.

Background

Weighing instruments may be located in airports and airport hotels and made available for use by customers to give guidance on the weight of any baggage that they may have. The weighing can take place with, or without, a charge.

These are not instruments used to directly determine the excess baggage charges or safe aircraft loads.

Legal Metrological Requirements

# Question 1
Weighing instruments are sometimes available at airports and hotels, for use by the public to check the weight of their own baggage. What is their legal status?

These instruments are used for customer guidance and so they are not regulated instruments under the Non-automatic Weighing Instruments Regulations 2016.

These Regulations, except Part 4, apply to an instrument (referred to in these Regulations as a
“regulated non-automatic weighing instrument”) for use for any of the following purposes—

1. the determination of mass for commercial transactions;
2. the determination of mass for the calculation of a toll, tariff, tax, bonus, penalty, remuneration, indemnity or similar type of payment;
3. the determination of mass for the application of laws or regulations or for an expert opinion given in court proceedings;
4. the determination of mass in the practice of medicine for weighing patients for the purposes of monitoring, diagnosis and medical treatment;
5. the determination of mass for making up medicines on prescription in a pharmacy and determination of mass in analyses carried out in medical and pharmaceutical laboratories; and
6. the determination of price on the basis of mass for the purposes of direct sales to the public and the making up of prepackages.

Part 4 of the Regulations applies to a non-automatic weighing instrument that is not a regulated instrument. Consequently, Regulation 46 requires in respect of these instruments that:-

A manufacturer must not place on the market a non-automatic weighing instrument to which this regulation applies unless it is marked legibly and indelibly with the following information— (a) the manufacturer’s name, registered trade name or registered trade mark; and (b) the maximum capacity of the instrument, in the form “Max…..”.
(c) the postal address at which they can be contacted, indicating a single point of contact.

In addition to the foregoing, it is important to note that the instruments are ‘…. made available in Great Britain for use by the public, whether on payment or otherwise….’ under Section 7 (4) (a) of the Weights and Measures Act 1985, and so they are ‘in use for trade’. They are not however prescribed, for reasons given above, and so they neither have to bear a stamp nor a sticker, and there are no error tolerances laid down for them.

Offences could be committed under Section 17 of the Weights and Measures Act if such instruments were false or unjust, or if fraud were committed in their use.

# Question 2
Does the legal status change if a charge is made for their use?

No it does not. The payment is solely for access to the weighing instrument.

# Question 3
Such instruments may have information associated with them in respect of the baggage limits and excess charges for particular airlines.

If this information was incorrect, or the weighing instrument was incorrect, and was the cause of the customer making a transactional decision that they would not have taken otherwise, there is the possibility of offences being committed against the Consumer Protection from Unfair Trading Regulations 2008.

If the instrument was incorrect, there could also be offences under Section 17 of the Weights and Measures Act – but there are no prescribed legal tolerances laid down, and so consideration would need to be given as to how inaccurate the instrument actually was.

# Question 4
Some such instruments are associated with bag vending machines.  A customer is able to purchase a bag if they think they have excess baggage weight, because of the weight indicated by the instrument and the information associated with it.

As in Question 3 above, if this information was incorrect, or the weighing instrument was incorrect, and was the cause of the customer buying a bag and making a transactional decision that they would not have taken otherwise, there is the possibility of offences being committed against the Consumer Protection from Unfair Trading Regulations 2008.

Again, as noted above, if the instrument was incorrect, there could also be offences under Section
17 of the Weights and Measures Act – but there are no prescribed legal tolerances laid down, and so consideration would need to be given as to how inaccurate the instrument actually was.

 In offering this advice LMEP wishes to make clear:
- The advice is result of agreement between enforcement duty holders in the UK participating in the LMEP. Where other interested organisations are involved – this is indicated.
- Advice is independent of the UK government or UK government agencies
- Only a court of law can interpret legislation with authority
- The advice given is subject to revision in the light of further information
- The advice is not intended to be a definitive guide to, or substitute for, the relevant law.
- Independent legal advice should always be sought if appropriate.
- This guidance is not intended to cover every situation and you may need to carefully consider how the regulations (and any other relevant legislation) applies in your specific circumstances. However, following this guidance should help you to understand how to comply with your obligations under the regulations and the law.