LMEP – Forecourt Fuel ‘Running up a Penny’ Guidance Note. Dated 10.10.2019

Guidance Note on the Forecourt Fuel `Running up a Penny’

# Background

Local Authorities sometimes receive complaints from motorists buying petrol, who find that on replacing the nozzle in the dispenser after filling up, the price indication ‘runs on’ by an additional 1p. The complaint is usually that “I dispensed £20 precisely, yet the indicator ran on to display £20.01 when I replaced the dispenser nozzle”.

# Legal Metrological Requirements and the Most Likely Explanation

Measurement of fuel in a liquid fuel dispenser involves the pumped and metered fuel causing a ‘pulser’ to rotate and send a signal to a processor / computer. The customer display shows the quantity delivered and the price as calculated by the computer. Because the price of petrol is now so high, a very small movement in the pulser can be enough to trip the price indication by a penny. In reality, this represents only a very small quantity of petrol – about a teaspoonful in fact.

The running on can be caused by simply just passing the precise quantity through normal delivery, or when the nozzle is replaced, the internal volume of the hose can change due to internal pressure forcing more fuel into the hose. This effect is called ‘hose dilation’ and is simply the hose swelling slightly. The error in such cases, if any, is very minor and well inside the permitted pump error tolerances of -0.5% to +1.0%.

Before a dispenser can be put into use in the UK, it must be granted a Certificate of Approval / Type Approval Certificate which is issued by an appropriate approval body. Part of their approval process is that they must be satisfied with the method of price computation.

# A Solution

As long as the price of fuel remains high, this ‘running on’ phenomenon will continue to occur from time to time. There is no cure for the problem, but it may be some reassurance for customers to know that they are not receiving short measure.
A number of garages have ‘penny boxes’ on the counter where some customers place the odd pennies when their transactions have ‘run on’ and that other customers, who are confrontational about the extra penny, take a penny out.
This has been found to be useful in avoiding problems.

In offering this advice LMEP wishes to make clear:
The advice is result of agreement between enforcement duty holders in the UK participating in the LMEP. Where other interested organisations are involved – this is indicated.
For public distribution.	1 LMEP – Forecourt Fuel ‘Running up a Penny’ Guidance Note. Dated 10.10.2019
- Advice is independent of the UK government or UK government agencies
- Only a court of law can interpret legislation with authority
- The advice given is subject to revision in the light of further information
- The advice is not intended to be a definitive guide to, or substitute for, the relevant law.
- Independent legal advice should always be sought if appropriate.
- This guidance is not intended to cover every situation and you may need to carefully consider how the regulations (and any other relevant legislation) applies in your specific circumstances. However, following this guidance should help you to understand how to comply with your obligations under the regulations and the law.

For public distribution.	2